## El-Ox
Oxide
Point# | Na2O | Al2O3 | MgO | CaO | MnO | Fe2O3 | FeO | P2O5 | Total | Fe2O3
5 | 9.0513 | 4.3223 | 7.1174 | 0.66929 | 23.4215 |  | 10.376 | 45.2938 | 100.2516 | 11.5309
18 | 9.7353 | 4.3988 | 7.1344 | 0.67141 | 23.0704 |  | 10.2348 | 45.0373 | 100.2822 | 11.3739
19 | 9.4666 | 4.2481 | 7.0953 | 0.66485 | 22.9571 |  | 10.2926 | 44.6785 | 99.4032 | 11.4382
20 | 9.1107 | 4.3366 | 7.1854 | 0.68519 | 23.1255 |  | 10.2212 | 45.065 | 99.7295 | 11.3588
21 | 9.1462 | 4.4213 | 7.1115 | 0.68409 | 23.2577 |  | 10.2571 | 45.3494 | 100.2272 | 11.3988
22 | 9.6363 | 4.4428 | 7.0874 | 0.65174 | 23.2023 |  | 10.2966 | 44.7113 | 100.0284 | 11.4426
23 | 8.841 | 4.3589 | 7.1088 | 0.6896 | 23.1625 |  | 10.3531 | 45.3516 | 99.8655 | 11.5054
24 | 9.0643 | 4.3256 | 7.1718 | 0.65605 | 23.1294 |  | 10.2746 | 45.6063 | 100.228 | 11.4181
25 | 8.9228 | 4.3878 | 7.2989 | 0.63526 | 23.2626 |  | 10.1304 | 45.4921 | 100.1299 | 11.2579
26 | 8.9433 | 4.341 | 7.2768 | 0.64704 | 22.9318 |  | 10.3591 | 45.3567 | 99.8557 | 11.5121
27 | 9.4765 | 4.3585 | 7.052 | 0.62955 | 23.146 |  | 10.1425 | 45.2028 | 100.008 | 11.2714
28 | 8.9292 | 4.36 | 7.0401 | 0.66403 | 23.1555 |  | 10.1516 | 45.3232 | 99.6236 | 11.2815
Ave. | 9.1936 | 4.3585 | 7.14 | 0.66234 | 23.1519 |  | 10.2575 | 45.2057 | 99.9694 | 11.3991
Stdv | 0.30455 | 0.05125 | 0.080809 | 0.019241 | 0.13247 |  | 0.084735 | 0.28593 | 0.26817 | 0.094166
Calculation was based on 24 O atoms:
| Emperical formula: |  | (Na2.80Ca0.11)S2.91(Mn3.09Fe0.47Mg0.36)S3.92(Mg1.31Fe2+0.69)S2.00(Al0.81Fe3+0.19)S1.00(PO4)6
Fe3+ Obtained by adjusting the Fe2+/Fe3+ ratio for electroneutrality.
| Ideal formula: |  | Na3Mn2+4Mg2Al(PO4)6

## Cal
FileName : 05-25
Setup Name : Anais_1.qtiSet
Date : 26-May-2016
Spectromers Conditions : Sp1 TAP, Sp3 LPET, Sp4 TAP, Sp4 TAP, Sp4 TAP, Sp1 TAP, Sp2 LPET, Sp5 LLIF, Sp5 LLIF, Sp3 LPET, Sp3 LPET, Sp3 LPET, Sp2 LPET
Full Spectromers Conditions : Sp1 TAP(2d= 25.745,K= 0.00218), Sp3 LPET(2d= 8.75,K= 0.000144), Sp4 TAP(2d= 25.745,K= 0.00218), Sp4 TAP(2d= 25.745,K= 0.00218), Sp4 TAP(2d= 25.745,K= 0.00218), Sp1 TAP(2d= 25.745,K= 0.00218), Sp2 LPET(2d= 8.75,K= 0.000144), Sp5 LLIF(2d= 4.0267,K= 0.000058), Sp5 LLIF(2d= 4.0267,K= 0.000058), Sp3 LPET(2d= 8.75,K= 0.000144), Sp3 LPET(2d= 8.75,K= 0.000144), Sp3 LPET(2d= 8.75,K= 0.000144), Sp2 LPET(2d= 8.75,K= 0.000144)
Column Conditions : Cond 1 : 15keV 10nA , Cond 2 : 15keV 20nA
Cond 1 : Na Ka, K Ka, F Ka
Cond 2 : Al Ka, Mg Ka, Si Ka, Ca Ka, Mn Ka, Fe Ka, P Ka, Pb Ma, Sr La, Ba La
User Name : SX
DataSet Comment : R160069 green light grey
Comment :
Analysis Date : 5/25/2016 3:06:31 PM
Project Name : Anais
Sample Name : 5_25_16
Analysis Parameters :
Sp | Elements | Xtal | Position | Bg+ | Bg- | Slope | Bias | Gain | Dtime | Blin | Wind | Mode
Sp1 | Na Ka |  | TAP | 46320 |  | -600 | 600 |  | 1280 | 2866 | 3 | 825 | 4000 | Diff
Sp3 | K Ka |  | LPET | 42763 |  | -600 | 600 |  | 1834 | 926 | 3 | 523 | 4000 | Diff
Sp4 | F Ka |  | TAP | 71312 |  | -850 | 600 |  | 1279 | 2866 | 3 | 873 | 4000 | Diff
Sp4 | Al Ka |  | TAP | 32471 |  | -600 | 600 |  | 1279 | 2866 | 3 | 873 | 4000 | Diff
Sp4 | Mg Ka |  | TAP | 38499 |  | -600 | 600 |  | 1280 | 2866 | 3 | 873 | 4000 | Diff
Sp1 | Si Ka |  | TAP | 27738 |  | -600 | 600 |  | 1280 | 2866 | 3 | 825 | 4000 | Diff
Sp2 | Ca Ka |  | LPET | 38385 |  | -600 | 600 |  | 1849 | 996 | 3 | 525 | 4000 | Diff
Sp5 | Mn Ka |  | LLIF | 52203 |  | -500 | 500 |  | 1822 | 426 | 3 | 500 | 4000 | Diff
Sp5 | Fe Ka |  | LLIF | 48082 |  | -500 | 500 |  | 1822 | 426 | 3 | 500 | 4000 | Diff
Sp3 | P Ka |  | LPET | 70379 |  | -930 | 930 |  | 1834 | 926 | 3 | 523 | 4000 | Diff
Sp3 | Pb Ma |  | LPET | 60422 |  | -600 | 600 |  | 1834 | 926 | 3 | 523 | 4000 | Diff
Sp3 | Sr La |  | LPET | 78488 |  | -400 | 400 |  | 1834 | 926 | 3 | 523 | 4000 | Diff
Sp2 | Ba La |  | LPET | 31724 |  | -600 | 600 |  | 1850 | 1011 | 3 | 525 | 4000 | Diff
Peak Position : Sp1 46320 (-600, 600), Sp3 42763 (-600, 600), Sp4 71312 (-850, 600), Sp4 32471 (-600, 600), Sp4 38499 (-600, 600), Sp1 27738 (-600, 600), Sp2 38385 (-600, 600), Sp5 52203 (-500, 500), Sp5 48082 (-500, 500), Sp3 70379 (-930, 930), Sp3 60422 (-600, 600), Sp3 78488 (-400, 400), Sp2 31724 (-600, 600)
Current Sample Position : X = 13535 Y = -25984 Z = 412
Standard Name :
Na On albite-Cr
K On kspar-OR1
F , P On ap-synap
Al, Ca On anor-hk
Mg, Si On ol-fo92
Mn On rhod791
Fe On fayalite
Pb On NBS_K0229
Sr On SrTiO3
Ba On NBS_K458
Standard composition :
albite-Cr = Si : 31.96%, Al : 10.39%, Fe : 0.01%, Ca : 0.01%, Na : 8.77%, K : 0.02%, O : 48.72%
kspar-OR1 = Si : 30.1%, Al : 9.83%, Fe : 0.02%, Na : 0.85%, K : 12.39%, Ba : 0.73%, Sr : 0.03%, Rb : 0.03%, H : 0.01%, O : 46.04%
ap-synap = F : 3.77%, P : 18.43%, Ca : 39.74%, O : 38.07%
anor-hk = Si : 20.57%, Al : 18.98%, Fe : 0.38%, Mg : 0.05%, Ca : 13.71%, Na : 0.44%, O : 46.08%
ol-fo92 = Si : 19.13%, Al : 0.02%, Fe : 6.36%, Mn : 0.09%, Mg : 30.33%, Ca : 0.07%, Ni : 0.32%, O : 43.74%
rhod791 = Si : 21.66%, Ti : 0.01%, Al : 0.02%, Fe : 2.1%, Mn : 36.14%, Mg : 0.58%, Ca : 2.69%, O : 37.28%
fayalite = Si : 13.84%, Ti : 0.01%, Al : 0.05%, Fe : 52.24%, Mn : 1.55%, Mg : 0.06%, Ca : 0.21%, Zn : 0.38%, O : 31.45%
NBS_K0229 = Si : 14.02%, Pb : 64.98%, O : 20.99%
SrTiO3 = Sr : 47.74%, Ti : 26.1%, O : 26.16%
NBS_K458 = Si : 23.05%, Ba : 41.79%, Zn : 3.01%, O : 31.87%
Calibration file name (Element intensity cps/nA) :
Na : albite-Cr_NaSp1_132.calDat (Na : 68.4 cps/nA)
K : kspar-OR1_K Sp3_046.calDat (K : 193.4 cps/nA)
F , P : ap-synap_F Sp4_P Sp3_CaSp2_001.calDat (F : 1.1 cps/nA, P : 119.1 cps/nA)
Al : anor-hk_AlSp4_083.calDat (Al : 359.4 cps/nA)
Mg : ol-fo92_MgSp4_065.calDat (Mg : 432.0 cps/nA)
Si : ol-fo92_SiSp1_050.calDat (Si : 342.3 cps/nA)
Ca : anor-hk_CaSp2_008.calDat (Ca : 300.2 cps/nA)
Mn : rhod791_MnSp5_127.calDat (Mn : 169.9 cps/nA)
Fe : fayalite_FeSp5_124.calDat (Fe : 270.3 cps/nA)
Pb : NBS_K0229_PbSp3_010.calDat (Pb : 114.8 cps/nA)
Sr : SrTiO3_SrSp3_002.calDat (Sr : 76.1 cps/nA)
Ba : NBS_K458_BaSp2_001.calDat (Ba : 402.1 cps/nA)
Beam Size : 5, 5 µm
FileName : 05-25
Setup Name : Anais_2_Zn.qtiSet
Date : 26-May-2016
Spectromers Conditions : Sp4 TAP, Sp4 TAP, Sp1 TAP, Sp2 LPET, Sp5 LLIF, Sp5 LLIF, Sp5 LLIF, Sp3 LPET
Full Spectromers Conditions : Sp4 TAP(2d= 25.745,K= 0.00218), Sp4 TAP(2d= 25.745,K= 0.00218), Sp1 TAP(2d= 25.745,K= 0.00218), Sp2 LPET(2d= 8.75,K= 0.000144), Sp5 LLIF(2d= 4.0267,K= 0.000058), Sp5 LLIF(2d= 4.0267,K= 0.000058), Sp5 LLIF(2d= 4.0267,K= 0.000058), Sp3 LPET(2d= 8.75,K= 0.000144)
Column Conditions : Cond 1 : 15keV 20nA
User Name : SX
DataSet Comment : R160033 light grey
Comment :
Analysis Date : 5/25/2016 3:23:37 PM
Project Name : Anais
Sample Name : 5_25_16
Analysis Parameters :
Sp | Elements | Xtal | Position | Bg+ | Bg- | Slope | Bias | Gain | Dtime | Blin | Wind | Mode
Sp4 | Al Ka |  | TAP | 32471 |  | -600 | 600 |  | 1279 | 2866 | 3 | 873 | 4000 | Diff
Sp4 | Mg Ka |  | TAP | 38499 |  | -600 | 600 |  | 1280 | 2866 | 3 | 873 | 4000 | Diff
Sp1 | Si Ka |  | TAP | 27738 |  | -600 | 600 |  | 1280 | 2866 | 3 | 825 | 4000 | Diff
Sp2 | Ca Ka |  | LPET | 38385 |  | -600 | 600 |  | 1849 | 996 | 3 | 525 | 4000 | Diff
Sp5 | Zn Ka |  | LLIF | 35610 |  | -500 | 500 |  | 1822 | 426 | 3 | 500 | 4000 | Diff
Sp5 | Mn Ka |  | LLIF | 52203 |  | -500 | 500 |  | 1822 | 426 | 3 | 500 | 4000 | Diff
Sp5 | Fe Ka |  | LLIF | 48082 |  | -500 | 500 |  | 1822 | 426 | 3 | 500 | 4000 | Diff
Sp3 | P Ka |  | LPET | 70379 |  | -930 | 930 |  | 1834 | 926 | 3 | 523 | 4000 | Diff
Peak Position : Sp4 32471 (-600, 600), Sp4 38499 (-600, 600), Sp1 27738 (-600, 600), Sp2 38385 (-600, 600), Sp5 35610 (-500, 500), Sp5 52203 (-500, 500), Sp5 48082 (-500, 500), Sp3 70379 (-930, 930)
Current Sample Position : X = -13916 Y = -824 Z = 243
Standard Name :
Al, Ca On anor-hk
Mg, Si On ol-fo92
Zn On ZnO
Mn On rhod791
Fe On fayalite
P On ap-synap
Standard composition :
anor-hk = Si : 20.57%, Al : 18.98%, Fe : 0.38%, Mg : 0.05%, Ca : 13.71%, Na : 0.44%, O : 46.08%
ol-fo92 = Si : 19.13%, Al : 0.02%, Fe : 6.36%, Mn : 0.09%, Mg : 30.33%, Ca : 0.07%, Ni : 0.32%, O : 43.74%
ZnO = Zn : 80.3392%, O : 19.6608%
rhod791 = Si : 21.66%, Ti : 0.01%, Al : 0.02%, Fe : 2.1%, Mn : 36.14%, Mg : 0.58%, Ca : 2.69%, O : 37.28%
fayalite = Si : 13.84%, Ti : 0.01%, Al : 0.05%, Fe : 52.24%, Mn : 1.55%, Mg : 0.06%, Ca : 0.21%, Zn : 0.38%, O : 31.45%
ap-synap = F : 3.77%, P : 18.43%, Ca : 39.74%, O : 38.07%
Calibration file name (Element intensity cps/nA) :
Al : anor-hk_AlSp4_083.calDat (Al : 359.4 cps/nA)
Mg : ol-fo92_MgSp4_065.calDat (Mg : 432.0 cps/nA)
Si : ol-fo92_SiSp1_050.calDat (Si : 342.3 cps/nA)
Ca : anor-hk_CaSp2_008.calDat (Ca : 300.2 cps/nA)
Zn : ZnO_ZnSp5_016.calDat (Zn : 244.1 cps/nA)
Mn : rhod791_MnSp5_127.calDat (Mn : 169.9 cps/nA)
Fe : fayalite_FeSp5_124.calDat (Fe : 270.3 cps/nA)
P : ap-synap_F Sp4_P Sp3_CaSp2_001.calDat (P : 119.1 cps/nA)
Beam Size : 5 µm